## Slide 1: Speed detector
Group 6 : CHENKAI WEI
JIACHENG SHI
YIHAN NIU
KONSTANTINOS KOSTOVASILIS

## Slide 2: Project description
Laser based speed detector for better range and accuracy
Applications :
  Law Enforcement
  Calibration Purposes
  Accurately Measuring Distance
What it does
  Instant/Average/Highest
  Distance
How it does
Generate Impulse Signals
Receive Reflection Wave
Measure Distance
Calculate Speed
LCD Display

## Slide 3: Hardware
MSP430
Extending Interval Circuit
Laser Generator
Laser Receiver
(APD)
Temperature and Humidity Sensor
Specific
Power Supply

## Slide 4: key component
Background
  fmax of MSP430 : 16MHz
  1m 150MHz
Method
  Charge Capacitance
  Discharge
  T2-T1=k(T1-T0)

## Slide 5: software
IAR Embedded Workbench
  Used for Uploading on the MSP430
Generate Signal Using PWM Output
  From P1.7
Receive Signal
  Record Time Interval of Two Impulses
  Calculate Distances and Speed
Display on LCD
  Use Switches to Enable Different Operations
Receive Signal from the Button on Board
Generate Impulse (PWM)
Receive Signal from Extending Interval Circuit
Calculate Interval, Distance & Speed
Display on LCD

## Slide 6: Thank you ! Any questions ?